## meta
Case P inputs: meta
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
meta.case_id |  | P
meta.name |  | Belanou Combined Cycle Power Project (Case P)
meta.file_version |  | 1.0
meta.as_of |  | 2026-10-03
meta.author |  | Case Bible designer
meta.source_document |  | book/bible/case-bible.md, Part 1
meta.status_note |  | Assumptions only. Model outputs (debt quantum, IDC, fees in USD, ratios, IRRs, valuations) are computed by the reference model and recorded in the figure ledger. Where this file and case-bible.md disagree, raise a change request; do not silently pick one.
meta.base_currency |  | USD
meta.local_currency.code |  | KCR
meta.local_currency.name |  | Kessaran cauri
meta.local_currency.plural |  | cauris
meta.periodicity.construction |  | monthly, Month 1 = August 2018 (notice to proceed 2018-08-01); financial close 2018-07-17 is treated as occurring at the start of Month 1
meta.periodicity.operations |  | semiannual, periods ending 30 June and 31 December; first operating period is a stub from COD to the next period end
meta.periodicity.day_count |  | ACT/360 for all USD floating-rate loans and the swap floating leg; 30/360 for the swap fixed leg and the 2025 bond; ACT/365 for KCR items and shareholder loans
meta.periodicity.indexation_dates | date | tariff indices reset 1 January and 1 July using index values lagged 3 months (September and March readings)
meta.units_convention |  | Key names carry units: _usd_m = USD millions; _usd = USD; _kcr_m = KCR millions; _pct = percent (5.0 means 5.0%); _x = ratio multiple; _mw, _gwh, _mwh, _kj_per_kwh, _mmbtu, _days, _months, _years. Prices labelled _2016 or _2018 are in prices of the stated base date before indexation.
meta.sign_convention |  | Costs stored as positive numbers; subtracted explicitly (style sheet 2.7).

## timeline
Case P inputs: timeline
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
timeline.origination_first_contact |  | 2015-04-14
timeline.co_development_agreement_signed |  | 2015-06-22
timeline.rfq_issued |  | 2016-02-09
timeline.prequalification_announced |  | 2016-04-28
timeline.rfp_issued |  | 2016-05-16
timeline.bid_submission |  | 2016-09-27
timeline.bid_base_date_for_indexation | date | 2016-11-30
timeline.preferred_bidder_notified |  | 2016-12-08
timeline.abdb_equity_term_sheet |  | 2017-04-11
timeline.lead_arranger_mandate |  | 2017-06-19
timeline.ppa_ia_government_guarantee_signed |  | 2017-10-12
timeline.gsa_signed |  | 2017-11-30
timeline.gta_signed |  | 2017-11-30
timeline.epc_signed |  | 2017-12-19
timeline.limited_notice_to_proceed |  | 2018-02-05
timeline.ltsa_signed |  | 2018-03-27
timeline.om_agreement_signed |  | 2018-04-30
timeline.financial_close |  | 2018-07-17
timeline.notice_to_proceed |  | 2018-08-01
timeline.construction_months_base | months | 33
timeline.epc_guaranteed_completion_date_original | date | 2021-04-30
timeline.cod_base |  | 2021-05-01
timeline.ppa_required_cod_original |  | 2021-07-31
timeline.covid_lockdown_start_kessara |  | 2020-03-21
timeline.covid_eot_days | days | 97
timeline.civil_rework_contractor_delay_days | days | 41
timeline.gsu_transformer_failure |  | 2021-06-09
timeline.grid_event_eot_days | days | 76
timeline.epc_guaranteed_completion_date_extended | date | 2021-10-20
timeline.taking_over_actual |  | 2021-11-30
timeline.cod_actual |  | 2021-12-01
timeline.construction_months_actual | months | 40
timeline.ppa_term_years_from_cod | years | 25
timeline.ppa_expiry_base |  | 2046-04-30
timeline.ppa_expiry_actual |  | 2046-11-30
timeline.first_repayment_date_base | date | 2021-12-31
timeline.first_repayment_date_actual | date | 2022-06-30
timeline.final_maturity_senior_bank_debt |  | 2034-06-30
timeline.libor_to_term_sofr_switch_loans |  | 2023-01-01
timeline.swap_fallback_to_compounded_sofr |  | 2023-07-01
timeline.fx_queue_start |  | 2022-11-07
timeline.fx_queue_end |  | 2024-03-29
timeline.seka_lc_drawn |  | 2023-02-14
timeline.dscr_test_breach |  | 2023-06-30
timeline.waiver_and_amendment_letter |  | 2023-10-26
timeline.arrears_settlement_agreement |  | 2024-03-21
timeline.refinancing_bond_pricing |  | 2025-06-17
timeline.refinancing_settlement |  | 2025-06-30
timeline.partial_sale_spa_signed |  | 2026-04-14
timeline.partial_sale_locked_box_date | date | 2025-12-31
timeline.partial_sale_completion |  | 2026-09-30

## macro
Case P inputs: macro
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
macro.notes |  | US CPI-U annual averages 2015-2025 approximate published values (fact-check against BLS before printing); 2026+ assumptions. Kessara series are fictional. FX quoted as KCR per USD.
macro.us_cpi_annual_avg_change_pct.2015 |  | 0.1
macro.us_cpi_annual_avg_change_pct.2016 |  | 1.3
macro.us_cpi_annual_avg_change_pct.2017 |  | 2.1
macro.us_cpi_annual_avg_change_pct.2018 |  | 2.4
macro.us_cpi_annual_avg_change_pct.2019 |  | 1.8
macro.us_cpi_annual_avg_change_pct.2020 |  | 1.2
macro.us_cpi_annual_avg_change_pct.2021 |  | 4.7
macro.us_cpi_annual_avg_change_pct.2022 |  | 8
macro.us_cpi_annual_avg_change_pct.2023 |  | 4.1
macro.us_cpi_annual_avg_change_pct.2024 |  | 2.9
macro.us_cpi_annual_avg_change_pct.2025 |  | 2.7
macro.us_cpi_annual_avg_change_pct.2026 |  | 2.6
macro.us_cpi_annual_avg_change_pct.2027_onward |  | 2.3
macro.kessara_cpi_annual_avg_change_pct.2015 |  | 8.7
macro.kessara_cpi_annual_avg_change_pct.2016 |  | 9.4
macro.kessara_cpi_annual_avg_change_pct.2017 |  | 8.1
macro.kessara_cpi_annual_avg_change_pct.2018 |  | 7.6
macro.kessara_cpi_annual_avg_change_pct.2019 |  | 7.9
macro.kessara_cpi_annual_avg_change_pct.2020 |  | 9.8
macro.kessara_cpi_annual_avg_change_pct.2021 |  | 10.6
macro.kessara_cpi_annual_avg_change_pct.2022 |  | 26.3
macro.kessara_cpi_annual_avg_change_pct.2023 |  | 34.8
macro.kessara_cpi_annual_avg_change_pct.2024 |  | 19.2
macro.kessara_cpi_annual_avg_change_pct.2025 |  | 12.4
macro.kessara_cpi_annual_avg_change_pct.2026 |  | 9.6
macro.kessara_cpi_annual_avg_change_pct.2027 |  | 8
macro.kessara_cpi_annual_avg_change_pct.2028_onward |  | 7
macro.index_construction_rule |  | Build monthly index levels by spreading each calendar year's average change evenly across its months (geometric); set both indices = 100.0 at November 2016 (bid base date). Tariff uses the index value of the month 3 months before each reset date.
macro.fx_kcr_per_usd.annual_avg.2015 |  | 418.6
macro.fx_kcr_per_usd.annual_avg.2016 |  | 451.7
macro.fx_kcr_per_usd.annual_avg.2017 |  | 487.3
macro.fx_kcr_per_usd.annual_avg.2018 |  | 516.8
macro.fx_kcr_per_usd.annual_avg.2019 |  | 545.2
macro.fx_kcr_per_usd.annual_avg.2020 |  | 572.9
macro.fx_kcr_per_usd.annual_avg.2021 |  | 603.5
macro.fx_kcr_per_usd.annual_avg.2022 |  | 742.6
macro.fx_kcr_per_usd.annual_avg.2023 |  | 1048.3
macro.fx_kcr_per_usd.annual_avg.2024 |  | 1071.9
macro.fx_kcr_per_usd.annual_avg.2025 |  | 1029.7
macro.fx_kcr_per_usd.annual_avg.2026 |  | 1036.4
macro.fx_kcr_per_usd.period_end.2015-12-31 |  | 436.2
macro.fx_kcr_per_usd.period_end.2016-06-30 |  | 447.9
macro.fx_kcr_per_usd.period_end.2016-11-30 |  | 462.35
macro.fx_kcr_per_usd.period_end.2016-12-31 |  | 468.9
macro.fx_kcr_per_usd.period_end.2017-06-30 |  | 489.6
macro.fx_kcr_per_usd.period_end.2017-12-31 |  | 502.4
macro.fx_kcr_per_usd.period_end.2018-06-30 |  | 517
macro.fx_kcr_per_usd.period_end.2018-07-17 |  | 519.4
macro.fx_kcr_per_usd.period_end.2018-12-31 |  | 531.7
macro.fx_kcr_per_usd.period_end.2019-06-30 |  | 544.3
macro.fx_kcr_per_usd.period_end.2019-12-31 |  | 556
macro.fx_kcr_per_usd.period_end.2020-06-30 |  | 577.8
macro.fx_kcr_per_usd.period_end.2020-12-31 |  | 590.3
macro.fx_kcr_per_usd.period_end.2021-06-30 |  | 604.1
macro.fx_kcr_per_usd.period_end.2021-12-31 |  | 618.7
macro.fx_kcr_per_usd.period_end.2022-06-30 |  | 688.2
macro.fx_kcr_per_usd.period_end.2022-12-31 |  | 897.4
macro.fx_kcr_per_usd.period_end.2023-06-30 |  | 1186
macro.fx_kcr_per_usd.period_end.2023-12-31 |  | 1112.6
macro.fx_kcr_per_usd.period_end.2024-06-30 |  | 1068.3
macro.fx_kcr_per_usd.period_end.2024-12-31 |  | 1043.5
macro.fx_kcr_per_usd.period_end.2025-06-30 |  | 1024.9
macro.fx_kcr_per_usd.period_end.2025-12-31 |  | 1018.2
macro.fx_kcr_per_usd.period_end.2026-06-30 |  | 1031.7
macro.fx_kcr_per_usd.semiannual_avg.2018H2 |  | 524.6
macro.fx_kcr_per_usd.semiannual_avg.2019H1 |  | 539.1
macro.fx_kcr_per_usd.semiannual_avg.2019H2 |  | 551.3
macro.fx_kcr_per_usd.semiannual_avg.2020H1 |  | 566
macro.fx_kcr_per_usd.semiannual_avg.2020H2 |  | 579.8
macro.fx_kcr_per_usd.semiannual_avg.2021H1 |  | 597.4
macro.fx_kcr_per_usd.semiannual_avg.2021H2 |  | 609.6
macro.fx_kcr_per_usd.semiannual_avg.2022H1 |  | 654.9
macro.fx_kcr_per_usd.semiannual_avg.2022H2 |  | 830.3
macro.fx_kcr_per_usd.semiannual_avg.2023H1 |  | 1052.8
macro.fx_kcr_per_usd.semiannual_avg.2023H2 |  | 1043.8
macro.fx_kcr_per_usd.semiannual_avg.2024H1 |  | 1093.1
macro.fx_kcr_per_usd.semiannual_avg.2024H2 |  | 1050.7
macro.fx_kcr_per_usd.semiannual_avg.2025H1 |  | 1035.6
macro.fx_kcr_per_usd.semiannual_avg.2025H2 |  | 1023.8
macro.fx_kcr_per_usd.semiannual_avg.2026H1 |  | 1028.9
macro.fx_kcr_per_usd.semiannual_avg.2026H2 |  | 1043.9
macro.fx_kcr_per_usd.projection_rule_after_2026H2 |  | Depreciate at the inflation differential: FX_t = FX_(t-1) x (1 + Kessara CPI)/(1 + US CPI), applied semiannually with half-year rates.
macro.fx_kcr_per_usd.bid_base_rate_kcr_per_usd |  | 462.35
macro.usd_base_rates.notes |  | Fixings at the start of each semiannual interest period. 6M USD LIBOR applies to loans through 2022-12-31; 6M CME Term SOFR plus the ISDA 6M spread adjustment from 2023-01-01. Historical values approximate; fact-check before printing exact figures.
macro.usd_base_rates.libor_6m_pct.2018-07 |  | 2.52
macro.usd_base_rates.libor_6m_pct.2019-01 |  | 2.87
macro.usd_base_rates.libor_6m_pct.2019-07 |  | 2.2
macro.usd_base_rates.libor_6m_pct.2020-01 |  | 1.91
macro.usd_base_rates.libor_6m_pct.2020-07 |  | 0.37
macro.usd_base_rates.libor_6m_pct.2021-01 |  | 0.25
macro.usd_base_rates.libor_6m_pct.2021-07 |  | 0.16
macro.usd_base_rates.libor_6m_pct.2022-01 |  | 0.34
macro.usd_base_rates.libor_6m_pct.2022-07 |  | 2.94
macro.usd_base_rates.term_sofr_6m_pct.2023-01 |  | 4.86
macro.usd_base_rates.term_sofr_6m_pct.2023-07 |  | 5.47
macro.usd_base_rates.term_sofr_6m_pct.2024-01 |  | 5.16
macro.usd_base_rates.term_sofr_6m_pct.2024-07 |  | 5.22
macro.usd_base_rates.term_sofr_6m_pct.2025-01 |  | 4.25
macro.usd_base_rates.term_sofr_6m_pct.2025-07 |  | 4.17
macro.usd_base_rates.term_sofr_6m_pct.2026-01 |  | 3.62
macro.usd_base_rates.term_sofr_6m_pct.2026-07 |  | 3.58
macro.usd_base_rates.term_sofr_6m_pct.2027-01 |  | 3.45
macro.usd_base_rates.term_sofr_6m_pct.2027-07 |  | 3.45
macro.usd_base_rates.term_sofr_6m_pct.2028_onward |  | 3.5
macro.usd_base_rates.credit_adjustment_spread_6m_pct | % | 0.42826
macro.usd_base_rates.construction_monthly_rule |  | During construction each month accrues at the 6M LIBOR fixed for the semiannual period containing that month.
macro.usd_base_rates.base_case_at_close_forward_curve_note |  | The FC base case (scenario 'FC_base') uses the forward 6M LIBOR curve as at financial close: 2018H2 2.52, 2019H1 2.79, 2019H2 2.94, 2020H1 3.02, 2020H2 3.06, 2021 3.09, 2022 3.11, 2023-2034 3.12 (flat). Swapped portion is unaffected.
macro.usd_base_rates.fc_forward_libor_6m_pct.2018H2 |  | 2.52
macro.usd_base_rates.fc_forward_libor_6m_pct.2019H1 |  | 2.79
macro.usd_base_rates.fc_forward_libor_6m_pct.2019H2 |  | 2.94
macro.usd_base_rates.fc_forward_libor_6m_pct.2020H1 |  | 3.02
macro.usd_base_rates.fc_forward_libor_6m_pct.2020H2 |  | 3.06
macro.usd_base_rates.fc_forward_libor_6m_pct.2021 |  | 3.09
macro.usd_base_rates.fc_forward_libor_6m_pct.2022 |  | 3.11
macro.usd_base_rates.fc_forward_libor_6m_pct.2023_onward |  | 3.12
macro.kessara_policy_rate_pct.2015 |  | 14
macro.kessara_policy_rate_pct.2018 |  | 13.5
macro.kessara_policy_rate_pct.2021 |  | 13.5
macro.kessara_policy_rate_pct.2022 |  | 19
macro.kessara_policy_rate_pct.2023 |  | 27
macro.kessara_policy_rate_pct.2024 |  | 24.5
macro.kessara_policy_rate_pct.2025 |  | 18
macro.kessara_policy_rate_pct.2026 |  | 15.5

## country
Case P inputs: country
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
country.name |  | Republic of Kessara
country.population_m.2015 |  | 27.4
country.population_m.2018 |  | 29.5
country.population_m.2021 |  | 31.8
country.population_m.2022 |  | 32.6
country.population_m.2023 |  | 33.4
country.population_m.2025 |  | 35.1
country.population_m.2026 |  | 36
country.gdp_usd_bn.2015 |  | 48.7
country.gdp_usd_bn.2018 |  | 58.3
country.gdp_usd_bn.2021 |  | 71.9
country.gdp_usd_bn.2022 |  | 66.2
country.gdp_usd_bn.2023 |  | 60.8
country.gdp_usd_bn.2024 |  | 64.9
country.gdp_usd_bn.2025 |  | 70.4
country.real_gdp_growth_pct.2015 |  | 5.8
country.real_gdp_growth_pct.2016 |  | 5.1
country.real_gdp_growth_pct.2017 |  | 5.6
country.real_gdp_growth_pct.2018 |  | 6.1
country.real_gdp_growth_pct.2019 |  | 5.9
country.real_gdp_growth_pct.2020 |  | 0.9
country.real_gdp_growth_pct.2021 |  | 4.8
country.real_gdp_growth_pct.2022 |  | 3.1
country.real_gdp_growth_pct.2023 |  | 2.4
country.real_gdp_growth_pct.2024 |  | 3.9
country.real_gdp_growth_pct.2025 |  | 4.6
country.sovereign_rating_path.[0] |  | 2015-01 | B+ stable
country.sovereign_rating_path.[1] |  | 2020-05 | B stable
country.sovereign_rating_path.[2] |  | 2022-09 | B- negative
country.sovereign_rating_path.[3] |  | 2023-03 | CCC+
country.sovereign_rating_path.[4] |  | 2024-11 | B- stable
country.sovereign_rating_path.[5] |  | 2026-05 | B stable
country.legal_system |  | civil law (French-derived codes)
country.sombe_west_field.operator |  | Halbeck Energy (65%)
country.sombe_west_field.snhk_share_pct | % | 35
country.sombe_west_field.water_depth_m |  | 72
country.sombe_west_field.first_production |  | 2019
country.sombe_west_field.certified_2p_reserves_bcf_2017 |  | 1140
country.power_sector_2015.installed_mw | MW | 2310
country.power_sector_2015.available_mw | MW | 1780
country.power_sector_2015.peak_demand_mw | MW | 2140
country.power_sector_2015.hydro_mw | MW | 640
country.power_sector_2015.hfo_diesel_mw | MW | 820
country.power_sector_2015.ocgt_gas_mw | MW | 690
country.power_sector_2015.other_mw | MW | 160
country.power_sector_2015.demand_growth_pct_pa | % | 7.4

## plant
Case P inputs: plant
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
plant.configuration |  | 2x1 combined cycle: two F-class gas turbines (Bergmark BT-9F), two triple-pressure reheat HRSGs, one reheat condensing steam turbine; once-through seawater cooling; dual fuel not provided (gas only)
plant.site_reference_conditions.ambient_c |  | 30
plant.site_reference_conditions.pressure_bar |  | 1.013
plant.site_reference_conditions.relative_humidity_pct | % | 80
plant.guaranteed_net_output_mw | MW | 588.4
plant.guaranteed_net_heat_rate_kj_per_kwh_lhv | kJ/kWh | 6261
plant.tested_net_output_mw | MW | 581.9
plant.tested_net_heat_rate_kj_per_kwh_lhv | kJ/kWh | 6286
plant.contracted_capacity_base_case_mw | MW | 588.4
plant.contracted_capacity_after_tests_mw | MW | 581.9
plant.hhv_to_lhv_ratio |  | 1.108
plant.kj_per_mmbtu | MMBtu | 1055056
plant.part_load_heat_rate_penalty_pct.100 |  | 0
plant.part_load_heat_rate_penalty_pct.75 |  | 4.2
plant.part_load_heat_rate_penalty_pct.50 |  | 11.8
plant.average_part_load_penalty_at_base_dispatch_pct | % | 2.3
plant.degradation.output_non_recoverable_pct_per_year | % | 0.15
plant.degradation.output_recoverable_average_pct | % | 1
plant.degradation.heat_rate_non_recoverable_pct_per_year | % | 0.12
plant.degradation.heat_rate_recoverable_average_pct | % | 0.8
plant.degradation.note |  | Model uses a smooth average: output factor = (1 - 0.0015 x years since COD) x (1 - 0.010); heat-rate factor = (1 + 0.0012 x years since COD) x (1 + 0.008).
plant.gt_hours_and_starts.operating_hours_per_gt_per_year_base |  | 8059
plant.gt_hours_and_starts.starts_per_gt_per_year_base |  | 38
plant.gt_hours_and_starts.eoh_per_start |  | 10
plant.availability_profile_pct_by_operating_year_cycle.cycle_years | years | 8
plant.availability_profile_pct_by_operating_year_cycle.values |  | 93.8 | 92.9 | 93.8 | 90.6 | 93.8 | 92.9 | 93.8 | 88.7
plant.availability_profile_pct_by_operating_year_cycle.note |  | OY4 hot gas path; OY8 major inspection plus steam turbine major overhaul; cycle repeats from OY9. Includes forced outage rate 3.0%.
plant.dispatch_factor_when_available_pct.base |  | 76.5
plant.dispatch_factor_when_available_pct.banking |  | 72
plant.dispatch_factor_when_available_pct.downside |  | 58
plant.auxiliary_load_note |  | Net figures already net of auxiliary load; no separate adjustment

## capex_usd_m
Case P inputs: capex_usd_m
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
capex_usd_m.epc_contract_price |  | 571.84
capex_usd_m.epc_offshore_portion |  | 489.17
capex_usd_m.epc_onshore_portion |  | 82.67
capex_usd_m.epc_onshore_paid_in_kcr_at_fixed_rate_kcr_per_usd |  | 519.4
capex_usd_m.export_contract_value_eligible_for_eca |  | 263.7
capex_usd_m.owners_costs.total |  | 46.18
capex_usd_m.owners_costs.owners_engineer |  | 9.86
capex_usd_m.owners_costs.project_company_staff_and_admin |  | 11.27
capex_usd_m.owners_costs.site_preparation_and_access_road |  | 4.92
capex_usd_m.owners_costs.initial_spares |  | 8.31
capex_usd_m.owners_costs.start_up_fuel_net_of_test_energy |  | 6.74
capex_usd_m.owners_costs.resettlement_and_community_rap |  | 5.08
capex_usd_m.insurance_during_construction |  | 7.62
capex_usd_m.development_costs_reimbursed_at_fc |  | 21.43
capex_usd_m.development_fee_to_sponsors_at_fc |  | 11.2
capex_usd_m.lenders_advisors_and_legal |  | 8.97
capex_usd_m.contingency |  | 38.4
capex_usd_m.initial_working_capital |  | 5.35
capex_usd_m.subtotal_before_financing_costs |  | 710.99
capex_usd_m.computed_by_model |  | interest during construction | commitment fees | upfront and arrangement fees | ECA premium | agency fees during construction | DSRA initial funding at COD | shareholder loan interest capitalized (not a funded use)
capex_usd_m.profiles.epc_payment_pct_by_month_base.2018-08 |  | 10
capex_usd_m.profiles.epc_payment_pct_by_month_base.2018-09 |  | 0.0108
capex_usd_m.profiles.epc_payment_pct_by_month_base.2018-10 |  | 0.1133
capex_usd_m.profiles.epc_payment_pct_by_month_base.2018-11 |  | 0.3239
capex_usd_m.profiles.epc_payment_pct_by_month_base.2018-12 |  | 0.6294
capex_usd_m.profiles.epc_payment_pct_by_month_base.2019-01 |  | 1.0114
capex_usd_m.profiles.epc_payment_pct_by_month_base.2019-02 |  | 1.4496
capex_usd_m.profiles.epc_payment_pct_by_month_base.2019-03 |  | 1.9236
capex_usd_m.profiles.epc_payment_pct_by_month_base.2019-04 |  | 2.4133
capex_usd_m.profiles.epc_payment_pct_by_month_base.2019-05 |  | 2.8999
capex_usd_m.profiles.epc_payment_pct_by_month_base.2019-06 |  | 3.3659
capex_usd_m.profiles.epc_payment_pct_by_month_base.2019-07 |  | 3.7957
capex_usd_m.profiles.epc_payment_pct_by_month_base.2019-08 |  | 4.1755
capex_usd_m.profiles.epc_payment_pct_by_month_base.2019-09 |  | 4.4935
capex_usd_m.profiles.epc_payment_pct_by_month_base.2019-10 |  | 4.7405
capex_usd_m.profiles.epc_payment_pct_by_month_base.2019-11 |  | 4.9091
capex_usd_m.profiles.epc_payment_pct_by_month_base.2019-12 |  | 4.9946
capex_usd_m.profiles.epc_payment_pct_by_month_base.2020-01 |  | 4.9946
capex_usd_m.profiles.epc_payment_pct_by_month_base.2020-02 |  | 4.9091
capex_usd_m.profiles.epc_payment_pct_by_month_base.2020-03 |  | 4.7405
capex_usd_m.profiles.epc_payment_pct_by_month_base.2020-04 |  | 4.4935
capex_usd_m.profiles.epc_payment_pct_by_month_base.2020-05 |  | 4.1755
capex_usd_m.profiles.epc_payment_pct_by_month_base.2020-06 |  | 3.7957
capex_usd_m.profiles.epc_payment_pct_by_month_base.2020-07 |  | 3.3659
capex_usd_m.profiles.epc_payment_pct_by_month_base.2020-08 |  | 2.8999
capex_usd_m.profiles.epc_payment_pct_by_month_base.2020-09 |  | 2.4133
capex_usd_m.profiles.epc_payment_pct_by_month_base.2020-10 |  | 1.9236
capex_usd_m.profiles.epc_payment_pct_by_month_base.2020-11 |  | 1.4496
capex_usd_m.profiles.epc_payment_pct_by_month_base.2020-12 |  | 1.0114
capex_usd_m.profiles.epc_payment_pct_by_month_base.2021-01 |  | 0.6294
capex_usd_m.profiles.epc_payment_pct_by_month_base.2021-02 |  | 0.3239
capex_usd_m.profiles.epc_payment_pct_by_month_base.2021-03 |  | 0.1133
capex_usd_m.profiles.epc_payment_pct_by_month_base.2021-04 |  | 7.5108
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2018-08 |  | 10
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2018-09 |  | 0.0102
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2018-10 |  | 0.0868
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2018-11 |  | 0.2284
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2018-12 |  | 0.4235
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2019-01 |  | 0.6612
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2019-02 |  | 0.9313
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2019-03 |  | 1.2242
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2019-04 |  | 1.5311
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2019-05 |  | 1.8437
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2019-06 |  | 2.1545
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2019-07 |  | 2.4565
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2019-08 |  | 2.7436
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2019-09 |  | 3.01
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2019-10 |  | 3.2509
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2019-11 |  | 3.4619
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2019-12 |  | 3.6396
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2020-01 |  | 3.7808
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2020-02 |  | 3.8833
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2020-03 |  | 3.9455
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2020-04 |  | 3.966
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2020-05 |  | 3.9455
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2020-06 |  | 3.8833
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2020-07 |  | 3.7808
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2020-08 |  | 3.6396
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2020-09 |  | 3.4619
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2020-10 |  | 3.2509
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2020-11 |  | 3.01
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2020-12 |  | 2.7436
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2021-01 |  | 2.4565
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2021-02 |  | 2.1545
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2021-03 |  | 1.8437
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2021-04 |  | 1.5311
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2021-05 |  | 1.2242
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2021-06 |  | 0.9313
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2021-07 |  | 0.6612
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2021-08 |  | 0.4235
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2021-09 |  | 0.2284
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2021-10 |  | 0.0868
capex_usd_m.profiles.epc_payment_pct_by_month_actual.2021-11 |  | 7.5102
capex_usd_m.profiles.owners_costs_pct_by_month_base.2018-08 |  | 12
capex_usd_m.profiles.owners_costs_pct_by_month_base.2018-09 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2018-10 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2018-11 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2018-12 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2019-01 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2019-02 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2019-03 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2019-04 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2019-05 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2019-06 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2019-07 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2019-08 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2019-09 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2019-10 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2019-11 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2019-12 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2020-01 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2020-02 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2020-03 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2020-04 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2020-05 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2020-06 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2020-07 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2020-08 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2020-09 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2020-10 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2020-11 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2020-12 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2021-01 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2021-02 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2021-03 |  | 2.75
capex_usd_m.profiles.owners_costs_pct_by_month_base.2021-04 |  | 2.75
capex_usd_m.profiles.owners_costs_actual_rule |  | Base owner's costs follow the base profile over Months 1-33; the extension costs listed under events.construction_overrun are spread evenly over Months 34-40.
capex_usd_m.profiles.insurance_during_construction_timing |  | 85% at FC (Month 1), 15% in Month 18
capex_usd_m.profiles.development_costs_and_fee_timing |  | 100% at FC (Month 1)
capex_usd_m.profiles.lenders_advisors_timing |  | 70% at FC, remainder evenly Months 2-33 (base) or 2-40 (actual)
capex_usd_m.profiles.contingency_timing_base |  | Drawn pro rata with EPC progress payments (FC base case assumes full use, per lender practice)
capex_usd_m.profiles.initial_working_capital_timing |  | Final construction month
capex_usd_m.profiles.lntp_note |  | LNTP payment of USD 14.20m (Feb 2018) was funded by sponsors before FC and is part of the EPC price; it is credited as an equity contribution at FC and reduces the Month 1 EPC advance accordingly.

## vat_and_duties
Case P inputs: vat_and_duties
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
vat_and_duties.vat_rate_pct | % | 18
vat_and_duties.imports_exempt |  | TRUE
vat_and_duties.vat_on_onshore_epc_recoverable |  | TRUE
vat_and_duties.vat_refund_lag_months | months | 9
vat_and_duties.vat_facility.lender |  | Union Bancaire du Kessara
vat_and_duties.vat_facility.currency |  | KCR
vat_and_duties.vat_facility.limit_kcr_m | KCR m | 7900
vat_and_duties.vat_facility.rate |  | Kessara policy rate + 2.50%
vat_and_duties.vat_facility.repaid_from |  | VAT refunds

## ppa
Case P inputs: ppa
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
ppa.offtaker |  | Societe d'Electricite du Kessara (SEKA)
ppa.term_years_from_cod | years | 25
ppa.structure |  | BOOT; plant transfers to SEKA at expiry for USD 1 subject to handback conditions
ppa.currency |  | Tariff denominated in USD, invoiced monthly in USD, paid in KCR at the Central Bank mid rate on the business day before payment
ppa.capacity_charge_usd_per_kw_month_2016.capital_charge |  | 14.36
ppa.capacity_charge_usd_per_kw_month_2016.capital_charge_indexed_share_us_cpi_pct | % | 20
ppa.capacity_charge_usd_per_kw_month_2016.fixed_om_charge |  | 2.31
ppa.capacity_charge_usd_per_kw_month_2016.fixed_om_foreign_share_us_cpi_pct | % | 62
ppa.capacity_charge_usd_per_kw_month_2016.fixed_om_local_share_kessara_cpi_pct | % | 38
ppa.capacity_charge_usd_per_kw_month_2016.local_share_mechanics |  | Local share converted to KCR at bid base rate 462.35, indexed by Kessara CPI, reconverted to USD at the invoice-date FX rate
ppa.variable_om_charge_usd_per_mwh_2016 | USD/MWh | 3.86
ppa.variable_om_indexation.us_cpi_pct | % | 70
ppa.variable_om_indexation.kessara_cpi_local_pct | % | 30
ppa.fuel_charge |  | Net energy delivered (MWh) x contracted heat rate at the dispatched load (kJ/kWh LHV) x 1.108 / 1,055,056 x gas price (USD/MMBtu, GCV) from the GSA; plus pass-through of GTA reservation and commodity charges and of GSA take-or-pay payments caused by SEKA dispatch
ppa.contracted_heat_rate_kj_per_kwh_lhv_100pct_load | kJ/kWh | 6323
ppa.contracted_heat_rate_degradation_allowance_pct_per_year | % | 0.1
ppa.contracted_heat_rate_part_load_curve |  | same percentages as plant.part_load_heat_rate_penalty_pct
ppa.target_availability_pct | % | 90
ppa.capacity_payment_rule |  | Capacity payment = capacity charge x contracted capacity x min(1, availability / 90%). No bonus above target.
ppa.payment_terms_days_from_invoice | days | 30
ppa.late_payment_interest |  | 6M Term SOFR (6M LIBOR before 2023) + 2.00%
ppa.payment_security.standby_lc |  | Issued for SEKA by Union Bancaire du Kessara, confirmed by Castellan Bank; amount = 2 months of estimated capacity charges + 1 month of estimated energy charges; USD 33.8m in 2022
ppa.payment_security.lc_amount_2022_usd_m | USD m | 33.8
ppa.payment_security.lc_replenishment_days | days | 30
ppa.payment_security.government_guarantee |  | Ministry of Economy and Finance guarantee of SEKA payment obligations and termination amounts (Garantie de l'Etat), capped at USD 1,250m
ppa.payment_security.abdb_partial_risk_guarantee_usd_m | USD m | 41.5
ppa.payment_security.abdb_prg_fee_pct_pa | % | 0.75
ppa.payment_security.abdb_prg_note |  | PRG backs the LC confirming bank's reimbursement claim against the Republic; fee subsidised by a donor facility
ppa.delay_ld_payable_to_seka_usd_per_day |  | 94150
ppa.delay_ld_cap_usd_m | USD m | 25
ppa.termination_compensation.seka_or_government_default_and_political_fm |  | senior debt outstanding + swap breakage + equity amount, where equity amount = greater of (a) NPV of projected distributions at 14.5% and (b) equity contributed compounded at 14.5% less distributions received
ppa.termination_compensation.project_company_default |  | 100% of senior debt outstanding (principal plus accrued interest at the non-default rate, excluding default interest and swap breakage beyond scheduled hedges), less insurance proceeds
ppa.termination_compensation.natural_fm_beyond_180_days | days | senior debt outstanding + equity contributed less distributions (no return)
ppa.termination_compensation.buyout_option_at_expiry |  | USD 1
ppa.dispatch |  | SEKA dispatches in merit order through the national control center; minimum stable load 45% per GT block; start charges included in VOM
ppa.change_in_law |  | Kessaran change in law affecting costs > USD 0.5m p.a. passed through; change in tax law affecting dividend WHT excluded
ppa.refinancing_gain_sharing |  | None; SEKA consent needed only if the refinancing extends beyond PPA term or increases termination exposure
ppa.bid_evaluation.method |  | levelized tariff over 25 years at 10.0% USD discount rate, 70% dispatch, reference gas price USD 5.50/MMBtu flat, contracted heat rate
ppa.bid_evaluation.runner_up_premium_over_winner_pct | % | 4.6
ppa.bid_evaluation.number_of_bids |  | 4
ppa.bid_evaluation.prequalified |  | 5
ppa.bid_evaluation.rfq_respondents |  | 9

## gsa
Case P inputs: gsa
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
gsa.seller |  | Societe Nationale des Hydrocarbures du Kessara (SNHK), as aggregator from the Sombe West offshore field
gsa.term_years | years | 22
gsa.dcq_mmbtu_per_day | MMBtu | 72400
gsa.mdq_mmbtu_per_day | MMBtu | 96500
gsa.acq_rule |  | DCQ x days in contract year
gsa.take_or_pay_pct_of_acq | % | 80
gsa.make_up_recovery_years | years | 3
gsa.deliver_or_pay |  | Seller shortfall below 95% of nominations: price discount 25% on shortfall quantities plus SEKA deemed availability under PPA
gsa.price_usd_per_mmbtu_2018 | USD/MMBtu | 5.86
gsa.price_escalation_pct_pa | % | 2
gsa.price_escalation_date | date | 1 January
gsa.measurement_basis |  | GCV (HHV)
gsa.payment_terms |  | 30 days after month end, in KCR at Central Bank mid rate
gsa.first_gas_for_commissioning |  | 2021-03

## gta
Case P inputs: gta
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
gta.transporter |  | Gazoduc Cotier du Kessara SA (GCK)
gta.pipeline_km.offshore |  | 68
gta.pipeline_km.onshore |  | 44
gta.reserved_capacity_mmbtu_per_day | MMBtu | 96500
gta.reservation_charge_usd_per_mmbtu_reserved_2018 | USD/MMBtu | 0.62
gta.commodity_charge_usd_per_mmbtu_2018 | USD/MMBtu | 0.19
gta.escalation_pct_pa | % | 1.5
gta.ship_or_pay_pct | % | 100
gta.note |  | All GTA charges pass through to SEKA under the PPA fuel transportation pass-through

## opex
Case P inputs: opex
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
opex.om_fixed_fee_usd_m_pa_2018 | USD m | 7.92
opex.om_fee_split.usd_us_cpi_pct | % | 65
opex.om_fee_split.kcr_kessara_cpi_pct | % | 35
opex.om_fee_split.kcr_conversion_rate_2018 |  | 516.8
opex.om_availability_incentive |  | +/- USD 0.60m p.a. (2018 USD) linear between 89% and 95% availability, zero at 92%
opex.ltsa_fixed_fee_usd_m_pa_2018 | USD m | 2.64
opex.ltsa_variable_fee_usd_per_eoh_per_gt_2018 |  | 486
opex.ltsa_indexation |  | US CPI 100%
opex.operational_insurance_usd_m_pa_2018 | USD m | 4.37
opex.insurance_indexation |  | US CPI; plus market step-up of 18.0% from 2022H2 (hard market)
opex.project_company_g_and_a_usd_m_pa_2018 | USD m | 3.18
opex.g_and_a_split.usd_us_cpi_pct | % | 50
opex.g_and_a_split.kcr_kessara_cpi_pct | % | 50
opex.land_lease_and_permits_kcr_m_pa_2018 | KCR m | 368
opex.land_lease_indexation |  | Kessara CPI
opex.community_development_fund_pct_of_non_fuel_revenue | % | 0.3
opex.regulatory_levy_pct_of_non_fuel_revenue | % | 0.25
opex.variable_consumables_usd_per_mwh_2018 | USD/MWh | 1.08
opex.variable_consumables_split.us_cpi_pct | % | 70
opex.variable_consumables_split.kessara_cpi_local_pct | % | 30
opex.major_maintenance_outside_ltsa_usd_m_2018.steam_turbine_and_bop_major_overhaul_oy8_oy16_oy24 |  | 9.47
opex.major_maintenance_outside_ltsa_usd_m_2018.hrsg_and_bop_minor_every_4_years_oy4_oy12_oy20 | years | 2.18
opex.agency_and_admin_fees_usd_pa.intercreditor_agent |  | 95000
opex.agency_and_admin_fees_usd_pa.security_agents_onshore_and_offshore |  | 75000
opex.agency_and_admin_fees_usd_pa.account_banks |  | 40000
opex.agency_and_admin_fees_usd_pa.eca_agent |  | 45000
opex.decommissioning_handback_reserve |  | Handback reserve funded from OY20: USD 1.85m p.a. (2018 USD, US CPI) to PPA expiry

## working_capital
Case P inputs: working_capital
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
working_capital.receivable_days_normal | days | 45
working_capital.gas_payable_days | days | 45
working_capital.gta_payable_days | days | 30
working_capital.om_ltsa_payable_days | days | 30
working_capital.other_payable_days | days | 30
working_capital.spares_inventory_usd_m_2018 | USD m | 5.35
working_capital.note |  | Receivable days in the crisis case are replaced by the arrears path in events.offtaker_crisis

## tax
Case P inputs: tax
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
tax.corporate_income_tax_rate_pct | % | 30
tax.tax_holiday.full_exemption_years_from_cod | years | 5
tax.tax_holiday.reduced_rate_years_6_to_8_pct | % | 15
tax.tax_holiday.full_rate_from_year |  | 9
tax.minimum_turnover_tax_pct_of_non_fuel_revenue | % | 0.5
tax.minimum_turnover_tax_applies_from_operating_year |  | 6
tax.depreciation.plant_share_of_capitalized_cost_pct | % | 92
tax.depreciation.plant_life_years | years | 20
tax.depreciation.plant_method |  | straight line from COD
tax.depreciation.buildings_civil_share_pct | % | 5
tax.depreciation.buildings_life_years | years | 25
tax.depreciation.intangibles_development_and_financing_share_pct | % | 3
tax.depreciation.intangibles_life_years | years | 5
tax.depreciation.capitalized_items |  | all construction uses including IDC, fees, ECA premium, development fee; DSRA funding and working capital excluded
tax.depreciation.deferred_depreciation_during_holiday |  | Depreciation for holiday years is deemed deferred (amortissements reputes differes) and deductible later without time limit
tax.loss_carryforward_years | years | 5
tax.shareholder_loan_interest_deductibility |  | Deductible; thin cap 3:1 related-party debt to equity; rate cap Kessara policy rate + 3% does not bind for USD loans (USD loans exempt)
tax.third_party_interest_limitation |  | 30% of tax EBITDA from 1 January 2025 under Finance Act 2024; loans signed before 1 January 2023 grandfathered, including refinancing that does not increase principal
tax.withholding_tax_pct.dividends_domestic |  | 15
tax.withholding_tax_pct.dividends_treaty_holdco |  | 7.5
tax.withholding_tax_pct.interest_domestic |  | 10
tax.withholding_tax_pct.interest_treaty_holdco_on_shareholder_loans |  | 5
tax.withholding_tax_pct.interest_exempt_lenders |  | ABDB A-loan | ABDB B-loan (lender of record) | Exportgarant-covered tranche | 2025 project bond (listed Eurobond exemption)
tax.withholding_tax_pct.interest_gross_up_by_project_company |  | commercial bank tranche and standby facility (commercial portion)
tax.indirect_transfer_tax_from_2025_pct | % | 15
tax.indirect_transfer_tax_note |  | Finance Act 2024: gains on offshore share transfers deriving >50% of value from Kessaran assets, effective 1 January 2025

## sponsors_and_equity
Case P inputs: sponsors_and_equity
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
sponsors_and_equity.project_company |  | Belanou Power SA
sponsors_and_equity.shareholding_pct_at_fc.Kilnworth Power International (via Kilnworth Belanou Holdings, a treaty-jurisdiction holding company) |  | 60
sponsors_and_equity.shareholding_pct_at_fc.Groupe Talme |  | 25
sponsors_and_equity.shareholding_pct_at_fc.ABDB Infrastructure Equity Fund |  | 15
sponsors_and_equity.shareholding_pct_pre_fc.Kilnworth |  | 70
sponsors_and_equity.shareholding_pct_pre_fc.Groupe Talme |  | 30
sponsors_and_equity.abdb_fund_entry_development_premium_usd_m | USD m | 4.85
sponsors_and_equity.equity_share_of_total_funding_target_pct | % | 25
sponsors_and_equity.equity_form.share_capital_pct | % | 20
sponsors_and_equity.equity_form.shareholder_loans_pct | % | 80
sponsors_and_equity.shareholder_loan_rate_pct | % | 9.5
sponsors_and_equity.shareholder_loan_terms |  | USD; interest capitalized until COD, then paid subordinated to senior debt service and reserves; repaid from distributable cash after interest
sponsors_and_equity.equity_funding_mode |  | pro rata 25:75 with senior debt, each sponsor's undrawn commitment backed by LCs from banks rated A- or better (Groupe Talme LC issued by Union Bancaire du Kessara, confirmed by Kaito Pacific Bank)
sponsors_and_equity.contingent_equity_usd_m | USD m | 15.4
sponsors_and_equity.development_budget_approved_2015_usd_m | USD m | 14.8
sponsors_and_equity.development_costs_actual_to_fc_usd_m | USD m | 21.43
sponsors_and_equity.sponsor_target_equity_irr_usd_nominal_post_tax_pct | % | 16
sponsors_and_equity.distribution_test_dates | date | 30 June | 31 December

## debt
Case P inputs: debt
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
debt.sizing.base_case_min_dscr_x | x | 1.35
debt.sizing.downside_min_dscr_x | x | 1.2
debt.sizing.downside_definition |  | banking dispatch replaced by availability 6.5 points below profile every year, heat rate +1.5%, fixed opex +10%
debt.sizing.gearing_cap_pct | % | 75
debt.sizing.llcr_min_at_fc_x | x | 1.4
debt.sizing.sculpting |  | Aggregate senior debt service sculpted to base-case CFADS / 1.35 each period from first repayment to final maturity; quantum = min(DSCR-sculpted PV, gearing cap). All tranches amortize pro rata on the common sculpted profile.
debt.sizing.eca_constraints |  | OECD Arrangement project finance terms: repayment term from starting point (COD) <= 14 years; weighted average life of repayment <= 7.25 years; first repayment no later than 6 months after starting point (base case); no single installment > 25% of principal. Modeler must test and report.
debt.sizing.expected_range_usd_m | USD m | 600 | 660
debt.sizing.expected_binding_constraint |  | gearing cap or close to it (both within 3%)
debt.tranche_shares_of_senior_debt_pct.eca_covered |  | 30
debt.tranche_shares_of_senior_debt_pct.abdb_a_loan |  | 22
debt.tranche_shares_of_senior_debt_pct.abdb_b_loan |  | 10
debt.tranche_shares_of_senior_debt_pct.commercial_uncovered |  | 38
debt.tranches.eca_covered.lenders |  | Castellan Bank (ECA agent), Kaito Pacific Bank, Banque Raveau
debt.tranches.eca_covered.cover |  | Exportgarant comprehensive 95%
debt.tranches.eca_covered.max_usd_m | USD m | 224.1
debt.tranches.eca_covered.margin_pct | % | 1.35
debt.tranches.eca_covered.eca_premium_pct_of_principal | % | 10.85
debt.tranches.eca_covered.premium_payment |  | upfront pro rata to each drawdown, financed
debt.tranches.eca_covered.arrangement_fee_pct | % | 1.1
debt.tranches.eca_covered.commitment_fee_pct_pa | % | 0.45
debt.tranches.abdb_a_loan.lender |  | Atlantic Basin Development Bank
debt.tranches.abdb_a_loan.margin_pct | % | 3.65
debt.tranches.abdb_a_loan.front_end_fee_pct | % | 1.25
debt.tranches.abdb_a_loan.commitment_fee_pct_pa | % | 0.75
debt.tranches.abdb_b_loan.lender_of_record |  | Atlantic Basin Development Bank
debt.tranches.abdb_b_loan.participants |  | Kaito Pacific Bank 55% | Sterrenberg Bank NV 45%
debt.tranches.abdb_b_loan.margin_pct | % | 3.4
debt.tranches.abdb_b_loan.upfront_fee_pct | % | 1.5
debt.tranches.abdb_b_loan.commitment_fee_pct_pa | % | 0.85
debt.tranches.commercial_uncovered.lenders |  | Castellan Bank (MLA, bookrunner, modeling bank, hedge coordinator) 34%, Banque Raveau (MLA, documentation) 26%, Kaito Pacific Bank (MLA, technical) 22%, Hovland Bank ASA (MLA, insurance) 18%
debt.tranches.commercial_uncovered.margin_pct_schedule.to_2025-12-31 |  | 4.1
debt.tranches.commercial_uncovered.margin_pct_schedule.2026-01-01_to_2029-12-31 |  | 4.6
debt.tranches.commercial_uncovered.margin_pct_schedule.from_2030-01-01 |  | 5.1
debt.tranches.commercial_uncovered.upfront_fee_pct | % | 2.15
debt.tranches.commercial_uncovered.commitment_fee_pct_pa | % | 40% of applicable margin
debt.tranches.commercial_uncovered.soft_mini_perm |  | from 2027-01-01, 50% of cash otherwise distributable is swept to prepay this tranche
debt.tranches.standby_facility.commitment_usd_m | USD m | 46
debt.tranches.standby_facility.lenders |  | commercial banks 60%, ABDB 40%
debt.tranches.standby_facility.margin_pct | % | respective tranche margin + 0.25
debt.tranches.standby_facility.commitment_fee_pct_pa | % | 0.6
debt.tranches.standby_facility.draw_rule |  | after contingency exhausted, drawn 75:25 with contingent equity
debt.tranches.standby_facility.repayment |  | pro rata with senior debt from first repayment date
debt.common_terms.final_maturity |  | 2034-06-30
debt.common_terms.repayment_dates | date | 30 June and 31 December
debt.common_terms.first_repayment_base |  | 2021-12-31
debt.common_terms.first_repayment_actual |  | 2022-06-30
debt.common_terms.installments_base |  | 26
debt.common_terms.installments_actual |  | 25
debt.common_terms.interest_period_months | months | 6
debt.common_terms.default_interest_pct | % | 2
debt.common_terms.cash_sweep_base |  | none except soft mini-perm sweep and lock-up cash after 2 consecutive lock-ups
debt.covenants.historic_dscr_test |  | 12 months to each test date, cash basis
debt.covenants.lock_up_dscr_x | x | 1.2
debt.covenants.event_of_default_dscr_x | x | 1.1
debt.covenants.projected_dscr_lock_up_x | x | 1.2
debt.covenants.llcr_lock_up_x | x | 1.25
debt.covenants.distribution_conditions |  | no default | DSRA and MMRA fully funded | historic and projected DSCR >= 1.20x | first repayment made | completion certified by IE
debt.covenants.equity_cure |  | permitted twice over life, not consecutive, by shareholder loan to raise CFADS for the test period
debt.reserves.dsra_months_of_next_debt_service | months | 6
debt.reserves.dsra_funding |  | fully funded at COD from final debt and equity drawdown
debt.reserves.dsra_lc_substitution |  | permitted for sponsors with A- rated LC
debt.reserves.mmra |  | Accumulate in each of the 6 semiannual periods before a major outage one sixth of the projected cost of the steam turbine/BOP overhaul and HRSG/BOP minor works (costs outside LTSA)
debt.reserves.handback_reserve |  | see opex.decommissioning_handback_reserve

## hedging
Case P inputs: hedging
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
hedging.interest_rate_swap.hedge_ratio_pct_of_projected_floating_senior_debt | % | 80
hedging.interest_rate_swap.permitted_band_pct | % | 75 | 90
hedging.interest_rate_swap.fixed_rate_pct | % | 2.947
hedging.interest_rate_swap.fixed_rate_composition |  | mid-market 2.872% + 7.5 bp credit and execution charge
hedging.interest_rate_swap.trade_date | date | 2018-07-17
hedging.interest_rate_swap.notional_profile |  | 80% of projected outstanding ECA, A-loan, B-loan, commercial tranche balances in the FC base case, accreting during construction, amortizing to 2034-06-30
hedging.interest_rate_swap.counterparties |  | Castellan Bank, Banque Raveau, Kaito Pacific Bank, Hovland Bank ASA pro rata to commercial tranche shares
hedging.interest_rate_swap.libor_transition |  | ISDA 2020 IBOR Fallbacks Protocol: from the first reset after 2023-06-30 the floating leg pays compounded SOFR in arrears + 0.42826%. Model simplification: treat swap floating leg as equal to the loan base rate each period (LIBOR through 2022, Term SOFR + CAS from 2023); basis H1 2023 ignored.
hedging.interest_rate_swap.unwind_on_refinancing |  | Portion of notional attributable to prepaid tranches (commercial + B-loan) terminated 2025-06-30 at mark-to-market using a flat swap rate of 3.68% for the remaining profile
hedging.fx |  | No FX hedge on revenue (USD-indexed tariff). No hedge on KCR costs. Offshore USD accounts with Castellan Bank London under Central Bank Exchange Control Authorization 2018-114.

## accounts
Case P inputs: accounts
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
accounts.onshore |  | KCR Collection Account (Union Bancaire du Kessara) | KCR Operating Account
accounts.offshore |  | USD Proceeds Account | Debt Service Account | DSRA | MMRA | Insurance Proceeds Account | Compensation Account | Distribution Account
accounts.sweep_rule |  | KCR collections converted and swept offshore daily, subject to Central Bank FX availability

## insurance_program
Case P inputs: insurance_program
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
insurance_program.construction.ear_sum_insured_usd_m | USD m | 640
insurance_program.construction.ear_deductible_usd_m | USD m | 1
insurance_program.construction.dsu_indemnity_period_months | months | 18
insurance_program.construction.dsu_time_deductible_days | days | 45
insurance_program.construction.dsu_daily_indemnity_usd |  | 228400
insurance_program.construction.marine_cargo_sum_insured_usd_m | USD m | 310
insurance_program.construction.marine_dsu_time_deductible_days | days | 45
insurance_program.construction.tpl_usd_m | USD m | 50
insurance_program.operations.property_damage_usd_m | USD m | 690
insurance_program.operations.pd_deductible_usd_m | USD m | 2.5
insurance_program.operations.bi_indemnity_period_months | months | 18
insurance_program.operations.bi_time_deductible_days | days | 60
insurance_program.operations.tpl_usd_m | USD m | 75
insurance_program.political_risk_insurance |  | Private-market PRI for the commercial tranche: 90% of principal and interest, covering expropriation, currency inconvertibility and transfer, political violence, and non-honoring of the government guarantee; premium 1.15% p.a. on insured amount, paid by project company
insurance_program.broker |  | Fenwick Lowe Insurance Brokers
insurance_program.lenders_insurance_advisor |  | Marchbank Risk Advisory
insurance_program.local_fronting_insurer |  | Assurances Generales du Kessara (AGK), 95% reinsured offshore with cut-through and assignment of reinsurance

## epc_terms
Case P inputs: epc_terms
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
epc_terms.contractor |  | Lindauer Kraftwerksbau AG (leader, 82%) and Bati-Kessara SA (civil works, 18%), joint and several
epc_terms.price_basis |  | lump-sum turnkey, date-certain, fixed price; onshore portion fixed in KCR at 519.4 KCR/USD
epc_terms.delay_ld_usd_per_day |  | 247300
epc_terms.delay_ld_cap_pct_of_price | % | 18
epc_terms.performance_ld_output_usd_per_kw_shortfall |  | 2150
epc_terms.performance_ld_heat_rate_usd_per_kj_per_kwh | kJ/kWh | 180400
epc_terms.performance_ld_cap_pct_of_price | % | 12
epc_terms.aggregate_ld_cap_pct_of_price | % | 30
epc_terms.overall_liability_cap_pct_of_price | % | 100
epc_terms.minimum_performance_levels.output_pct_of_guarantee | % | 95
epc_terms.minimum_performance_levels.heat_rate_pct_above_guarantee | % | 3
epc_terms.performance_bond_pct | % | 10
epc_terms.advance_payment_pct | % | 10
epc_terms.advance_payment_guarantee |  | TRUE
epc_terms.retention_pct | % | 5
epc_terms.retention_release |  | against retention bond at taking-over
epc_terms.defects_liability_months | months | 24
epc_terms.parent_company_guarantee |  | Lindauer Holding AG, full scope
epc_terms.completion_tests |  | net output and heat rate corrected to reference conditions; 720-hour reliability run with >= 95% availability; emissions and grid code compliance

## events
Case P inputs: events
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
events.construction_overrun.covid_variation_order_usd_m | USD m | 9.4
events.construction_overrun.grid_event_prolongation_settlement_usd_m | USD m | 8.27
events.construction_overrun.extended_owners_costs_usd_m | USD m | 6.93
events.construction_overrun.covid_owner_measures_usd_m | USD m | 4.11
events.construction_overrun.insurance_extension_premium_usd_m | USD m | 1.42
events.construction_overrun.additional_lenders_advisor_costs_usd_m | USD m | 0.86
events.construction_overrun.ear_deductible_borne_usd_m | USD m | 1
events.construction_overrun.additional_start_up_fuel_net_usd_m | USD m | 1.37
events.construction_overrun.additional_resettlement_compensation_usd_m | USD m | 3.27
events.construction_overrun.customs_duty_settlement_usd_m | USD m | 2.64
events.construction_overrun.total_hard_cost_overrun_usd_m | USD m | 39.27
events.construction_overrun.plus_computed_by_model |  | additional IDC and commitment fees from 7-month delay | DSRA re-sizing from resculpted profile
events.construction_overrun.funding_order |  | unused contingency (USD 38.40m) | EPC delay LDs received | DSU insurance proceeds | standby facility and contingent equity drawn 75:25 (pro rata) for the remainder
events.construction_overrun.epc_delay_ld_days | days | 41
events.construction_overrun.epc_delay_lds_usd_m | USD m | 10.1393
events.construction_overrun.dsu_indemnified_days | days | 31
events.construction_overrun.dsu_proceeds_usd_m | USD m | 7.0804
events.construction_overrun.ear_transformer_loss_usd_m | USD m | 6.84
events.construction_overrun.ear_proceeds_paid_for_reinstatement_usd_m | USD m | 5.84
events.construction_overrun.ppa_rcod_extension_days | days | 173
events.construction_overrun.ppa_delay_lds_payable_usd_m | USD m | 0
events.construction_overrun.performance_lds_usd_m.output |  | 13.975
events.construction_overrun.performance_lds_usd_m.heat_rate |  | 4.51
events.construction_overrun.performance_lds_usd_m.total |  | 18.485
events.construction_overrun.performance_ld_application |  | 100% mandatory prepayment of senior debt pro rata on 2022-06-30
events.offtaker_crisis.overdue_receivables_usd_m_period_end.2021-12-31 |  | 0
events.offtaker_crisis.overdue_receivables_usd_m_period_end.2022-06-30 |  | 18.4
events.offtaker_crisis.overdue_receivables_usd_m_period_end.2022-12-31 |  | 68.9
events.offtaker_crisis.overdue_receivables_usd_m_period_end.2023-06-30 |  | 112.6
events.offtaker_crisis.overdue_receivables_usd_m_period_end.2023-12-31 |  | 71.8
events.offtaker_crisis.overdue_receivables_usd_m_period_end.2024-06-30 |  | 34.6
events.offtaker_crisis.overdue_receivables_usd_m_period_end.2024-12-31 |  | 12.3
events.offtaker_crisis.overdue_receivables_usd_m_period_end.2025-06-30 |  | 0
events.offtaker_crisis.path_note |  | Overdue amounts in excess of normal 45-day receivables; net of the LC drawing; cleared by settlement installments April 2024 to June 2025
events.offtaker_crisis.lc_drawn_usd_m | USD m | 33.8
events.offtaker_crisis.lc_replenished |  | FALSE
events.offtaker_crisis.government_guarantee_demands.[0].date |  | 2023-04-18
events.offtaker_crisis.government_guarantee_demands.[0].usd_m |  | 21.6
events.offtaker_crisis.government_guarantee_demands.[0].paid |  | 2023-07-26
events.offtaker_crisis.government_guarantee_demands.[1].date |  | 2023-07-12
events.offtaker_crisis.government_guarantee_demands.[1].usd_m |  | 18.9
events.offtaker_crisis.government_guarantee_demands.[1].paid |  | 2023-11-30
events.offtaker_crisis.government_guarantee_demands.[2].date |  | 2023-10-09
events.offtaker_crisis.government_guarantee_demands.[2].usd_m |  | 17.4
events.offtaker_crisis.government_guarantee_demands.[2].paid |  | not paid; folded into settlement
events.offtaker_crisis.fx_conversion_losses_usd_m.2022H2 |  | 1.27
events.offtaker_crisis.fx_conversion_losses_usd_m.2023H1 |  | 3.84
events.offtaker_crisis.fx_conversion_losses_usd_m.2023H2 |  | 1.12
events.offtaker_crisis.fx_conversion_losses_usd_m.2024H1 |  | 0.31
events.offtaker_crisis.average_conversion_lag_days | days | 47
events.offtaker_crisis.gas_netting_agreement |  | Tripartite netting SEKA-SNHK-project company signed 2023-06-29: up to USD 9.0m per month of SEKA energy-charge arrears set off against project company gas payables to SNHK
events.offtaker_crisis.late_payment_interest_waived_pct | % | 40
events.offtaker_crisis.settlement_installments |  | 15 monthly installments April 2024 to June 2025
events.covenant_breach_and_waiver.test_date | date | 2023-06-30
events.covenant_breach_and_waiver.expected_historic_dscr_range_x | x | 0.8 | 1
events.covenant_breach_and_waiver.dsra_drawn_for |  | 2023-06-30 debt service shortfall (model computes)
events.covenant_breach_and_waiver.waiver_fee_pct_of_outstanding | % | 0.25
events.covenant_breach_and_waiver.margin_uplift_pct | % | 0.5
events.covenant_breach_and_waiver.margin_uplift_period |  | 2023-07-01 to 2024-12-31
events.covenant_breach_and_waiver.principal_deferral |  | 60% of the 2023-12-31 scheduled principal deferred; repaid in four equal parts on 2024-06-30, 2024-12-31, 2025-06-30, 2025-12-31
events.covenant_breach_and_waiver.lock_up_release_condition |  | two consecutive historic DSCR tests >= 1.25x and DSRA fully replenished
events.covenant_breach_and_waiver.arrears_recovery_sweep |  | 100% of arrears recoveries applied to DSRA replenishment first
events.covenant_breach_and_waiver.waived_tests |  | 2023-06-30 | 2023-12-31
events.refinancing_2025.date |  | 2025-06-30
events.refinancing_2025.prepaid_tranches |  | commercial_uncovered | abdb_b_loan | standby_facility
events.refinancing_2025.remaining_tranches |  | eca_covered | abdb_a_loan
events.refinancing_2025.instrument |  | USD senior secured amortizing project bond, 144A/Reg S, listed
events.refinancing_2025.bond_amount_rule
events.refinancing_2025.coupon_pct | % | 7.875
events.refinancing_2025.issue_price_pct | % | 99.512
events.refinancing_2025.coupon_frequency |  | semiannual 30/360
events.refinancing_2025.final_maturity |  | 2037-06-30
events.refinancing_2025.amortization |  | sculpted with remaining ECA and A-loan to combined base-case min DSCR 1.35x
events.refinancing_2025.abdb_partial_credit_guarantee_usd_m | USD m | 95
events.refinancing_2025.abdb_pcg_fee_pct_pa | % | 1.1
events.refinancing_2025.abdb_pcg_upfront_fee_pct | % | 0.75
events.refinancing_2025.bond_rating |  | B+ (one agency), sovereign B- at pricing
events.refinancing_2025.transaction_costs_usd_m.underwriting_1.00pct_of_bond |  | computed
events.refinancing_2025.transaction_costs_usd_m.legal_rating_listing_other |  | 3.1
events.refinancing_2025.loan_breakage |  | none (settlement on an interest payment date)
events.refinancing_2025.intercreditor |  | bondholders accede through a bond trustee to the amended intercreditor agreement; ECA and A-loan consent to tenor extension of bond beyond 2034
events.partial_sale_2026.seller |  | Kilnworth Power International
events.partial_sale_2026.buyer |  | Coldharbour Infrastructure Income Fund
events.partial_sale_2026.stake_sold_pct_of_project_company | % | 24
events.partial_sale_2026.seller_stake_after_pct | % | 36
events.partial_sale_2026.instruments_sold |  | pro rata shares and shareholder loans
events.partial_sale_2026.valuation_date_locked_box | date | 2025-12-31
events.partial_sale_2026.buyer_discount_rate_usd_post_tax_levered_pct | % | 13.75
events.partial_sale_2026.seller_reserve_discount_rate_pct | % | 12.5
events.partial_sale_2026.locked_box_ticker_pct_pa | % | 6.5
events.partial_sale_2026.deferred_consideration_usd_m | USD m | 4
events.partial_sale_2026.deferred_consideration_condition |  | SEKA overdue receivables remain zero through 2027-06-30
events.partial_sale_2026.w_and_i_insurance_limit_usd_m | USD m | 18
events.partial_sale_2026.consents |  | senior lenders and bondholders (change of control threshold: Kilnworth >= 30% until 2030) | SEKA (PPA) | Ministry of Energy and Hydrocarbons (IA) | ROFR waivers by Groupe Talme and ABDB fund
events.partial_sale_2026.tax |  | Kessara indirect transfer tax 15% on seller gain

## scenarios
Case P inputs: scenarios
Source: model/inputs_case_p.json (Case Bible Part 1 as amended by Annex P and the change log). Lists are written across from column D.
JSON key path | Unit | Value
scenarios.FC_base |  | Sponsor and lenders' base case at financial close: COD 2021-05-01, 588.4 MW, base availability and dispatch, FC forward LIBOR curve, swap 80%, FX projection from 2018 via inflation differential using 2018 CPI expectations (Kessara 7.5%, US 2.2% flat).
scenarios.FC_banking |  | FC_base with banking dispatch 72.0%; identical to FC_base for capacity revenue
scenarios.FC_downside |  | per debt.sizing.downside_definition
scenarios.actual_history |  | All events applied with historical macro paths through 2026H1 and assumptions after
scenarios.sensitivities |  | availability -3 points | heat rate +2% | fixed opex +10% | capex +10% funded pro rata | COD delay 6 months without LDs | LIBOR/SOFR +200 bp on unhedged portion | KCR devaluation 40% with 90-day conversion lag | SEKA payment delay 120 days for 12 months | dispatch 50% | gas price +30% (pass-through check)
scenarios.breakevens |  | availability for 1.00x min DSCR | capacity charge reduction for 1.00x | months of zero SEKA payment covered by DSRA plus LC